KABUTECH HIYAS

Hardware Labeling Specification — Main Box & Output Devices

Single-word physical labels for the main enclosure controls, power components, aviation I/O ports, chamber output actuators, and suspended weather probe.

★ DIRECT DEMO & SECURITY NAMING PRINCIPLE Each label is engineered as an unmistakable single word. This provides immediate understanding for users and evaluators (<0.2 seconds), prevents wiring mistakes on the GX16 aviation sockets, and ensures clear electrical safety.

# 1. Main Box — Controls & Power

Labels applied to the primary power switches, mains inlet, internal/external power supplies, step-down converters, and solenoid valve control on the main box.

| LABEL | PHYSICAL TARGET | HARDWARE FUNCTION | DEMO PURPOSE | TAPE / COLOR SPEC |
| --- | --- | --- | --- | --- |
| POWER | AC Master Rocker Switch (SW1) | Main electrical power toggle | Instant identification of master switch | White on Red (12mm) |
| MAINS | AC Inlet Bezel / Grid Feed | 220VAC incoming electrical utility | Identifies live utility feed source | Yellow on Black (9mm) |
| ON | Switch Upper Rocker Position | Circuit closed / energized state | Confirms energized switch position | White on Green (9mm) |
| OFF | Switch Lower Rocker Position | Circuit open / de-energized state | Confirms safe shutoff position | White on Red (9mm) |
| VALVE | Solenoid Valve Output Port / Switch | 12V NC Solenoid Water Valve line | Identifies water shut-off control | White on Blue (12mm) |
| PSU | 12V 5A Primary Power Supply | AC-to-DC 60W master switching PSU | Identifies primary 12V power supply | Black on Silver (12mm) |
| BUCK | LM2596 DC-DC Step-Down Board | 12V to 5V 3A logic voltage converter | Identifies 5V logic supply regulator | Black on White (9mm) |

# 2. Output Devices, Ports & Weather Probe

Labels applied to the GX16 aviation ports, the chamber actuator hardware, and the suspended weather probe containing the environmental sensors.

| LABEL | PHYSICAL TARGET | HARDWARE FUNCTION | DEMO PURPOSE | TAPE / COLOR SPEC |
| --- | --- | --- | --- | --- |
| PROBE | Port J1 / Umbilical Sensor Head | Chamber environmental sensor probe | Connects suspended multi-sensor head | White on Blue (12mm) |
| LIGHT | Sensor Probe Face / Port J5 | Ambient Lux Sensor (BH1750) & Grow LED | Photoperiod monitoring & grow lighting | Black on Yellow (12mm) |
| CO2 | Sensor Probe Face | True NDIR Carbon Dioxide Sensor (SCD41) | Chamber respiration / ventilation level | Black on Yellow (9mm) |
| T/H | Sensor Probe Face | Temperature & Humidity Sensor (SHT31) | Core mushroom fruiting environment | White on Green (9mm) |
| INTAKE | Port J3 & 120mm Intake Fan | Fresh air intake blower fan | Draws in fresh atmospheric oxygen | White on Black (12mm) |
| EXHAUST | Port J2 & 120mm Exhaust Fan | Air extractor fan | Expels stale air & CO2 build-up | White on Black (12mm) |
| MIST | Port J4 & 60W Misting Pump | High-pressure fogging pump & nozzles | Generates high humidity (>85% RH) | White on Blue (12mm) |

# 3. Weather Probe Print Specification

On the suspended multi-sensor probe body inside the mushroom chamber, print or stick the following labels directly adjacent to each sensor aperture:

| LABEL | PROBE LOCATION | SENSOR SPECIFICATION | DEMO PURPOSE | TAPE / COLOR SPEC |
| --- | --- | --- | --- | --- |
| LIGHT | BH1750 Optical Window | Ambient illuminance detection (150–1000 lx) | Indicates photoperiod light sensor | Black on Yellow (9mm) |
| CO2 | SCD41 Optical NDIR Chamber | True CO2 gas concentration (<1000 ppm) | Indicates air exchange CO2 sensor | Black on Yellow (9mm) |
| T/H | SHT31-D Sintered Filter Cap | Temperature & Relative Humidity (18-25°C, 85-95%) | Indicates primary climate sensor | White on Green (9mm) |

# 4. Ready-to-Print Sticker Checklist

Quick reference for printing labels with an industrial label maker (Brother P-Touch, Dymo, or Brady):

| SINGLE-WORD LABEL | TAPE WIDTH | COLOR SPEC | APPLICATION TARGET |
| --- | --- | --- | --- |
| POWER | 12mm Tape | White on Red | Main AC Rocker Switch |
| MAINS | 9mm Tape | Yellow on Black | 220VAC Grid Inlet |
| ON | 9mm Tape | White on Green | Switch Energized Position |
| OFF | 9mm Tape | White on Red | Switch De-energized Position |
| VALVE | 12mm Tape | White on Blue | Solenoid Valve Output Port |
| PSU | 12mm Tape | Black on Silver | 12V 5A Master Power Supply |
| BUCK | 9mm Tape | Black on White | LM2596 DC-DC Converter |
| PROBE | 12mm Tape | White on Blue | Port J1 & Umbilical Probe Head |
| LIGHT | 9mm / 12mm Tape | Black on Yellow | Probe Optical Sensor & Grow LED |
| CO2 | 9mm Tape | Black on Yellow | Probe NDIR Sensor |
| T/H | 9mm Tape | White on Green | Probe Temp/Humidity Sensor |
| INTAKE | 12mm Tape | White on Black | Port J3 & Intake Fan |
| EXHAUST | 12mm Tape | White on Black | Port J2 & Exhaust Fan |
| MIST | 12mm Tape | White on Blue | Port J4 & Misting Pump |